## Estimate
Estimate Electrical
ITEM # | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | LAB. | TOTAL LAB. | MAT. | TOTAL MAT. | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
| DIV.01 | GENERAL REQUIREMENTS | [10 empty] | 0
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
3 |  | Owner Purchased, Contractor Installed Items | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
4 |  | Maintaining Existing Construction In Weather High Conditions | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
5 |  | Signage | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
6 |  | Supervisory Personnel | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
7 |  | Temporary Services | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
8 |  | Water | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
9 |  | Lighting And Power | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
10 |  | Restroom Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
11 |  | Material Storage | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
12 |  | Contractor's Safety Program | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
| DIV.26 | ELECTRICAL | [10 empty] | 0
SITE LIGHT FIXTURE
13 |  | Z-1 Parking Lot LED Light Fixture , 135 Watts - 240 V | 44 | 0% | 44 | EA | 0 | 0 | 0 | 0 | 0 | 0
14 |  | Z-1 Parking Lot LED Light Fixture , 135 Watts - 240 V | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
BUILDING TYPE-A
POWER FIXTURE
15 |  | 20-A Duplex Convenience Receptacle | 354 | 0% | 354 | EA | 0 | 0 | 0 | 0 | 0 | 0
16 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type | 270 | 0% | 270 | EA | 0 | 0 | 0 | 0 | 0 | 0
17 |  | Data Outlet | 120 | 0% | 120 | EA | 0 | 0 | 0 | 0 | 0 | 0
18 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type w/ Weatherproof | 36 | 0% | 36 | EA | 0 | 0 | 0 | 0 | 0 | 0
19 |  | TV Outlet | 60 | 0% | 60 | EA | 0 | 0 | 0 | 0 | 0 | 0
20 |  | Smoke Detector | 54 | 0% | 54 | EA | 0 | 0 | 0 | 0 | 0 | 0
21 |  | Single Pole Switch | 450 | 0% | 450 | EA | 0 | 0 | 0 | 0 | 0 | 0
22 |  | 3-Way Switch | 96 | 0% | 96 | EA | 0 | 0 | 0 | 0 | 0 | 0
23 |  | Junction Box | 66 | 0% | 66 | EA | 0 | 0 | 0 | 0 | 0 | 0
24 |  | Special Purpose Receptacle | 48 | 0% | 48 | EA | 0 | 0 | 0 | 0 | 0 | 0
25 |  | 4-Way Switch | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHT FIXTURE
26 |  | 6- Watt Decorative Pandant | 72 | 0% | 72 | EA | 0 | 0 | 0 | 0 | 0 | 0
27 |  | 10 Watt 4" Semi Flush Down Light Wet Rated | 228 | 0% | 228 | EA | 0 | 0 | 0 | 0 | 0 | 0
28 |  | Ceiling Fan w/ Light (68 Watts) | 60 | 0% | 60 | EA | 0 | 0 | 0 | 0 | 0 | 0
29 |  | Ceiling Fan Damp Rated (53 Watts) | 24 | 0% | 24 | EA | 0 | 0 | 0 | 0 | 0 | 0
30 |  | Wall Sconce Damp Rated (6 Watts) | 60 | 0% | 60 | EA | 0 | 0 | 0 | 0 | 0 | 0
31 |  | 10- Watt LED Wall Sconce | 24 | 0% | 24 | EA | 0 | 0 | 0 | 0 | 0 | 0
32 |  | 26-Watt 10" Round Bulk Head Light Sconce Wet Listed | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
33 |  | 10.5 Watts Emergency Egress Light w/ 90-Min Battery Back Up | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | 0 | 0
34 |  | 5- Watts Exit Sign w/ 90-Min Battery Back Up Wet/ Cold Weather Rated | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
BUILDING TYPE-B
POWER FIXTURE
35 |  | 20-A Duplex Convenience Receptacle | 280 | 0% | 280 | EA | 0 | 0 | 0 | 0 | 0 | 0
36 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type | 322 | 0% | 322 | EA | 0 | 0 | 0 | 0 | 0 | 0
37 |  | Data Outlet | 148 | 0% | 148 | EA | 0 | 0 | 0 | 0 | 0 | 0
38 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type w/ Weatherproof | 48 | 0% | 48 | EA | 0 | 0 | 0 | 0 | 0 | 0
39 |  | TV Outlet | 84 | 0% | 84 | EA | 0 | 0 | 0 | 0 | 0 | 0
40 |  | Smoke Detector | 60 | 0% | 60 | EA | 0 | 0 | 0 | 0 | 0 | 0
41 |  | Single Pole Switch | 530 | 0% | 530 | EA | 0 | 0 | 0 | 0 | 0 | 0
42 |  | 3-Way Switch | 133 | 0% | 133 | EA | 0 | 0 | 0 | 0 | 0 | 0
43 |  | Junction Box | 84 | 0% | 84 | EA | 0 | 0 | 0 | 0 | 0 | 0
44 |  | Special Purpose Receptacle | 56 | 0% | 56 | EA | 0 | 0 | 0 | 0 | 0 | 0
45 |  | 4-Way Switch | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHT FIXTURE
46 |  | 6- Watt Decorative Pandant | 91 | 0% | 91 | EA | 0 | 0 | 0 | 0 | 0 | 0
47 |  | 10 Watt 4" Semi Flush Down Light Wet Rated | 266 | 0% | 266 | EA | 0 | 0 | 0 | 0 | 0 | 0
48 |  | Ceiling Fan w/ Light (68 Watts) | 84 | 0% | 84 | EA | 0 | 0 | 0 | 0 | 0 | 0
49 |  | Ceiling Fan Damp Rated (53 Watts) | 28 | 0% | 28 | EA | 0 | 0 | 0 | 0 | 0 | 0
50 |  | Wall Sconce Damp Rated (6 Watts) | 98 | 0% | 98 | EA | 0 | 0 | 0 | 0 | 0 | 0
51 |  | 10- Watt LED Wall Sconce | 28 | 0% | 28 | EA | 0 | 0 | 0 | 0 | 0 | 0
52 |  | 26-Watt 10" Round Bulk Head Light Sconce Wet Listed | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | 0 | 0
53 |  | 10.5 Watts Emergency Egress Light w/ 90-Min Battery Back Up | 20 | 0% | 20 | EA | 0 | 0 | 0 | 0 | 0 | 0
54 |  | 5- Watts Exit Sign w/ 90-Min Battery Back Up Wet/ Cold Weather Rated | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
CLUB HOUSE
POWER FIXTURE
55 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type | 39 | 0% | 39 | EA | 0 | 0 | 0 | 0 | 0 | 0
56 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type w/ Weatherproof | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | 0 | 0
57 |  | 20-A Duplex Convenience Receptacle | 34 | 0% | 34 | EA | 0 | 0 | 0 | 0 | 0 | 0
58 |  | 20-A Floor Box Duplex Convenience Receptacle | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
59 |  | Data Outlet | 15 | 0% | 15 | EA | 0 | 0 | 0 | 0 | 0 | 0
60 |  | Junction Box | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
61 |  | TV Outlet | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
62 |  | Single Pole Switch | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
63 |  | Lighting Control Panel | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
64 |  | Dual Technology Occupancy Sensor | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0
65 |  | Dual Technology Vacancy Sensor | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHT FIXTURE
66 |  | 4" Semi Flush LED Downlight (10.5 Watts) | 119 | 0% | 119 | EA | 0 | 0 | 0 | 0 | 0 | 0
67 |  | 10.5 Watts Emergency Egress Light w/ 90-Min Battery Back Up | 20 | 0% | 20 | EA | 0 | 0 | 0 | 0 | 0 | 0
68 |  | 3-Way Switch | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
69 |  | 26-Watt Wall Sconce | 20 | 0% | 20 | EA | 0 | 0 | 0 | 0 | 0 | 0
70 |  | 35-Watt 4' Long Linear LED Strip | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
71 |  | 5- Watts Exit Sign w/ 90-Min Battery Back Up Wet/ Cold Weather Rated | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
72 |  | 40 Watt Vanity 3-Lamp Wall Sconce | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
73 |  | 68 Watts Ceiling Fan w/ Light | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0
74 |  | Decorative Pandant | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
75 |  | Chandlier | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
MAINTENANCE & GARRAGES
POWER FIXTURE
76 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type | 22 | 0% | 22 | EA | 0 | 0 | 0 | 0 | 0 | 0
77 |  | 20-A Duplex Convenience Receptacle , Ground Fault Interrupting Type w/ Weatherproof | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0
78 |  | 20-A Duplex Convenience Receptacle | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0
79 |  | Wall Mounted Dual Technology Occupancy Sensor | 15 | 0% | 15 | EA | 0 | 0 | 0 | 0 | 0 | 0
80 |  | 3-Way Switch | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
LIGHT FIXTURE
81 |  | 35-Watt 4' Long Linear LED Strip | 29 | 0% | 29 | EA | 0 | 0 | 0 | 0 | 0 | 0
82 |  | 4" Semi Flush LED Downlight (10.5 Watts) | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
ELECTRICAL EQUIPMENTS
83 |  | Utility Transformer | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
84 |  | 600A , 240/120V Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
85 |  | 400-A Electric Meter | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
PANELS
86 |  | Panel: CA Ampere: 600A Phase:1 Wire:3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
87 |  | Panel: CB Ampere: 200A Phase:1 Wire:3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
88 |  | Panel: CP Ampere: 200A Phase:1 Wire:3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
89 |  | Panel: G Ampere: 100A Phase:1 Wire:3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
90 |  | Panel: M Ampere: 100A Phase:1 Wire:3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
91 |  | Panel: A Ampere: 125A Phase:1 Wire:3 | 22 | 0% | 22 | EA | 0 | 0 | 0 | 0 | 0 | 0
92 |  | Panel: B Ampere: 125A Phase:1 Wire:3 | 29 | 0% | 29 | EA | 0 | 0 | 0 | 0 | 0 | 0
93 |  | Panel: C Ampere: 125A Phase:1 Wire:3 | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0
CONDUITS OR WIRES
94 |  | Allowances For Connecting Conduits Or Wires , Gross Covered Area (22175 SF) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
SUB TOTAL | [11 empty] | 0 | 0
INSURANCE | [11 empty] | $ | $
OVERHEAD AND PROFIT | [11 empty] | $ | $
TOTAL BASE BID | [11 empty] | $ | $