## Takeoff
Project Name:- Fulton Bank Northwood Commons
Location:- 4101 Loch Raven Blvd Baltimore Maryland
Estimate Date:- 25th, Feb, 2021
Full GC Estimation
| Drawing no. | Description | Quantity | Unit | Unit Rate | Amount
Site Work
1 |  | Curb & Gutter | 962.04 | LF | 11 | 10582.44
2 |  | Asphalt Paving | 6861.25 | SF | 12 | 82335
3 |  | Flag Pole | 1 | EA | 200 | 200
4 |  | Sidewalk & Ramp To Public | 2546.77 | SF | 12 | 30561.24
5 |  | Grading Compaction, Base Course Binder Course | 4988.15 | SF | 2 | 9976.3
6 |  | Top Soil Fill By Bank | 878.57 | SF | 3 | 2635.71
7 |  | Retaining Wall | 4.3416 | CY | 650 | 2822.04
8 |  | Storm Sewer Pipe | 202.89 | LF | 15 | 3043.35
9 |  | Parking Sign | 4 | EA | 120 | 480
10 |  | High Occupancy Vehicle Sign | 2 | EA | 140 | 280
11 |  | Accessible Aisle Sign | 1 | EA | 160 | 160
12 |  | Wheel Stop | 4 | EA | 230 | 920
13 |  | Water Line | 65.42 | LF | 24 | 1570.08
14 |  | Pavement Marking | 445.54 | LF | 1.6 | 712.864
15 |  | Concrete Pad | 654.14 | SF | 12 | 7849.68
16 |  | Site Light | 10 | EA | 350 | 3500
17 |  | 4 1/2" Dia Underground Conduits | 76.59 | LF | 6 | 459.54
18 |  | Gas Line | 189.91 | LF | 16 | 3038.56
19 |  | Sanitary Sewer Line | 106.99 | LF | 22 | 2353.78
20 |  | Site Walk | 571.19 | SF | 12 | 6854.28
21 |  | Recycle Bin Enclosure
22 |  | 6" Concrete Slab | 35 | SF | 11 | 385
23 |  | 6" Concrete Block Grout Cell Solid W/ Flush Mortar | 40 | SF | 12 | 480
24 |  | 4" Brick Veneer | 40 | SF | 14 | 560
25 |  | Stone Cap | 10 | LF | 9 | 90
26 |  | 4" Pipe Concrete Filled Bollard (2'-6" H) | 1.3 | CY | 650 | 845
27 |  | Shopping Center
28 |  | Retaining Wall | 41.2938 | CY | 650 | 26840.9941
29 |  | Gas Pipe Line | 1473.1 | LF | 16 | 23569.6
30 |  | Underground Electrical | 377 | LF | 14 | 5278
31 |  | 2" Water Line | 135.03 | LF | 18 | 2430.54
32 |  | 4" Water Line | 196.54 | LF | 22 | 4323.88
33 |  | 6" Water Line | 325.29 | LF | 24 | 7806.96
34 |  | 10" Water Line | 869.82 | LF | 26 | 22615.32
35 |  | 6" PVC Line | 103.47 | LF | 24 | 2483.28
36 |  | 8" PVC Line | 35.09 | LF | 28 | 982.52
37 |  | Fiber Optic | 1120.58 | LF | 15 | 16808.7
38 |  | 4" Sanitary Pipe | 252.93 | LF | 30 | 7587.9
39 |  | 6" Sanitary Pipe | 65.87 | LF | 34 | 2239.58
40 |  | 8" Sanitary Pipe | 486.65 | LF | 39 | 18979.35
41 |  | 36" RCP | 312.98 | LF | 42 | 13145.16
42 |  | 8" HDPE (High-Density Polyethylene Pipe) | 41.9 | LF | 12 | 502.8
43 |  | 10" HDPE (High-Density Polyethylene Pipe) | 41.21 | LF | 14 | 576.94
44 |  | 12" HDPE (High-Density Polyethylene Pipe) | 505.8 | LF | 16 | 8092.8
45 |  | 15" HDPE (High-Density Polyethylene Pipe) | 249.74 | LF | 18 | 4495.32
46 |  | 18" HDPE (High-Density Polyethylene Pipe) | 90.91 | LF | 22 | 2000.02
47 |  | 24" HDPE (High-Density Polyethylene Pipe) | 128.9 | LF | 26 | 3351.4
48 |  | 4.5" PVC Pipe | 24.84 | LF | 12 | 298.08
49 |  | 3/4" Water Line | 138.16 | LF | 14 | 1934.24
50 |  | Concrete Pavement | 88829.38 | SF | 12 | 1065952.56
51 |  | Curb Gutter | 4457.75 | LF | 12 | 53493
52 |  | Retaining Wall | 32 | LF | 25 | 800
53 |  | Sidewalk | 669.02 | SF | 11 | 7359.22
54 |  | Equipment Pad | 406.76 | SF | 12 | 4881.12
55 |  | Excavation | 72 | CY | 30 | 2160
56 |  | Scaffolding | 4300 | SF | 1.3 | 5590
57 |  | Grading
58 |  | Cut | 578 | CY | 30 | 17340
59 |  | Fill | 215 | CY | 22 | 4730
60 |  | Concrete
61 |  | (4'-0"xv4'-0"x1'-2") Footing Reinf. 5-#5 Bottom | 4.1244 | CY | 650 | 2680.8889
62 |  | (3'-0"xv3'-0"x1'-0") Footing Reinf. 4-#5 Bottom | 0.5 | CY | 650 | 325
63 |  | (5'-0"x5'-0"x1'-2") Footing Reinf. 6-#5 Bottom | 12.8889 | CY | 650 | 8377.7778
64 |  | (4'-0"x1'-4") Reinf. 6-#6 Long Direction T&B #5@12" Short | 3.6452 | CY | 650 | 2369.3704
65 |  | Wall Footing
66 |  | (2'-0"x1'-0") Wall Footing W/ Reinf. #4@18" O.C & 3-#4 Cont. Reinf. | 10 | CY | 650 | 6500
67 |  | Curved Wall Footing
68 |  | 1'-0" Wall Footing W/ #4 @18" CC Wall Reinf. EA Face Cont. | 21.1111 | CY | 650 | 13722.2222
69 |  | Pedestal
70 |  | (1'-8"x1'-8") Conc. Pedestal | 4.3383 | CY | 650 | 2819.8878
71 |  | (2'-0"x3'-0") Conc. Pedestal | 0.66667 | CY | 650 | 433.3333
72 |  | (1'-6"x1'-6") Conc. Pedestal | 0.5 | CY | 650 | 325
73 |  | Slab
74 |  | (4") Concrete Slab On Grade Reinf. W/ 6x6xW1.4xW1.4 W.W.F On 10 Mil Vapor Barrier Over 6" Granular Fill | 2230 | SF | 11 | 24530
75 |  | Stair
76 |  | Concrete Stair | 1 | LOC | 500 | 500
78 |  | Framing
79 |  | Column
80 |  | HSS 4x4x5/16 W/12"x12"x1" Base Plate (4 EA) | 56 | EA | 12 | 672
81 |  | HSS 5x5x5/16 W/12"x12"x3/4" Base Plate (1 EA) | 14 | EA | 12 | 168
82 |  | HSS 4x4x1/4 W/12"x12"x3/4" Base Plate (7 EA) | 98 | EA | 12 | 1176
83 |  | HSS 8x8x1/4 W/16"x16x1" Base Plate (2 EA) | 28 | EA | 12 | 336
84 |  | HSS 6x3x1/4 W/9"x9x3/4" Base Plate (8 EA) | 112 | EA | 12 | 1344
85 |  | HSS 4x4x5/16 W/ Embed Plate (2 EA) | 28 | EA | 12 | 336
86 |  | HSS 6x3x1/4 W/ Embed Plate (2 EA) | 28 | EA | 12 | 336
87 |  | HSS 6x6x1/4 W/ 14"x14"x1" Base Plate (4 EA) | 56 | EA | 12 | 672
88 |  | HSS 4x4x5/16 W/ Embed Plate (2 EA) | 28 | EA | 12 | 336
89 |  | HSS 5x5x5/16 W/ 12"x12"x1" Base Plate (1 EA) | 14 | EA | 12 | 168
91 |  | Roof Plan
92 |  | 22K5 Beam | 169.34 | LF | 12 | 2032.08
93 |  | 22K7 Beam | 140.58 | LF | 12 | 1686.96
94 |  | 12K1 Beam | 131.02 | LF | 12 | 1572.24
95 |  | W12x19 Beam | 16.44 | LF | 12 | 197.28
96 |  | W12X16 Beam | 247.66 | LF | 12 | 2971.92
97 |  | W16X26 Beam | 135.54 | LF | 12 | 1626.48
98 |  | W14X22 Beam | 50.19 | LF | 12 | 602.28
99 |  | L4X4X1/4 Beam | 7.47 | LF | 12 | 89.64
100 |  | W12X16 Beam | 28 | LF | 12 | 336
101 |  | VB-1 Beam | 5.2 | LF | 12 | 62.4
102 |  | VB-3 Beam | 12.51 | LF | 12 | 150.12
103 |  | 12K3 Beam | 78.19 | LF | 12 | 938.28
104 |  | VB-4 Beam | 11.87 | LF | 12 | 142.44
105 |  | VB-2 Beam | 8.12 | LF | 12 | 97.44
106 |  | 1 1/2" Wide Rid 20 GA Roof Deck | 3025 | SF | 25 | 75625
107 |  | 1-1/2" Railing | 15 | LF | 25 | 375
108 |  | Roofing
109 |  | Single Plywood | 2584 | SF | 3 | 7752
110 |  | 1" Rigid Insulation | 2584 | SF | 2 | 5168
111 |  | Membrane Roofing | 2584 | SF | 1.6 | 4134.4
112 |  | Flat Metal Deck | 2584 | SF | 25 | 64600
113 |  | Metal Roof | 94 | SF | 14 | 1316
114 |  | Opening
115 |  | Door
116 |  | (3'-0"x7'-0") Aluminum Door & Aluminum Frame | 1 | EA | 1140 | 1140
117 |  | (3'-0"x7'-0") Wood Door & Wood Frame | 6 | EA | 1050 | 6300
118 |  | (3'-0"x7'-0") Wood Door & Hollow Metal Frame | 9 | EA | 970 | 8730
119 |  | Finish
120 |  | Wall Type 1a
121 |  | 5/8" Gypsum Board On Both Side | 518 | SF | 2 | 1036
122 |  | 3 5/8" Metal Stud @24" | 518 | SF | 4 | 2072
123 |  | Top & Bottom Plate | 74 | LF | 3 | 222
124 |  | Wall Type 2
125 |  | 5/8" Gypsum Board On Both Side | 126 | SF | 2 | 252
126 |  | 3 5/8" Metal Stud @24" | 126 | SF | 4 | 504
127 |  | 3 5/8 " Sound Partition | 126 | SF | 2 | 252
128 |  | Top & Bottom Plate | 18 | LF | 5 | 90
129 |  | Sealant | 56 | LF | 4 | 224
130 |  | Wall Type 3 |  |  |  | 0
131 |  | 5/8" Gypsum Board On Both Side | 1974 | SF | 2 | 3948
132 |  | 3 5/8" Metal Stud @24" | 1974 | SF | 4 | 7896
133 |  | 6" Sound Partition | 1974 | SF | 2 | 3948
134 |  | Top & Bottom Plate | 282 | LF | 5 | 1410
135 |  | Sealant | 564 | LF | 4 | 2256
136 |  | Wall Type 4
137 |  | 5/8" Gypsum Board On Both Side | 1792 | SF | 2 | 3584
138 |  | 3 5/8" Metal Stud @24" | 896 | SF | 4 | 3584
139 |  | 3 5/8 " Sound Partition | 896 | SF | 2 | 1792
140 |  | Top & Bottom Plate | 128 | LF | 5 | 640
141 |  | Sealant | 256 | LF | 4 | 1024
142 |  | Wall Type 5
143 |  | 5/8" Gypsum Board On Both Side | 308 | SF | 2 | 616
144 |  | 3 5/8" Metal Stud @24" | 154 | SF | 4 | 616
145 |  | 3 5/8 " Sound Partition | 154 | SF | 2 | 308
146 |  | Top & Bottom Plate | 22 | LF | 5 | 110
147 |  | Sealant | 44 | LF | 4 | 176
148 |  | Wall Type 6
149 |  | 5/8" Gypsum Board On Both Side | 280 | SF | 2 | 560
150 |  | 3 5/8" Metal Stud @24" | 140 | SF | 4 | 560
151 |  | Top & Bottom Plate | 20 | LF | 5 | 100
152 |  | Sealant | 40 | LF | 4 | 160
153 |  | Column Framing
154 |  | 6" Structural Steel Stud Framing | 860 | SF | 4 | 3440
155 |  | Metal Lath On Water Proof barrier | 860 | SF | 1.5 | 1290
156 |  | 1/2" Fiberglass Gypsum Sheathing | 860 | SF | 3 | 2580
157 |  | Exterior Wall
158 |  | 5/8" Gypsum Board On Both Side | 2744 | SF | 2 | 5488
159 |  | 6" Metal Stud @16" | 1372 | SF | 4 | 5488
160 |  | R-19 Insulation | 1372 | SF | 2 | 2744
161 |  | 1-1/2" Th. Cont. Rigid Insulation | 1372 | SF | 2 | 2744
162 |  | Air Barrier | 1372 | SF | 1 | 1372
163 |  | 1/2" Fiberglass Gypsum Board Sheathing | 1372 | SF | 2.5 | 3430
164 |  | Top & Bottom Plate | 196 | LF | 5 | 980
165 |  | Sealant | 392 | LF | 4 | 1568
166 |  | Floor
167 |  | Carpet Floor (CR-1) | 1228 | SF | 9 | 11052
168 |  | Room Resilient Material (RM-2) | 447 | SF | 11 | 4917
169 |  | Ceramic Tile (CT-4) | 104 | SF | 16 | 1664
170 |  | Carpet Floor (CR-2) | 196 | SF | 9 | 1764
171 |  | Carpet Floor (CR-4) | 104 | SF | 9 | 936
172 |  | Ceramic Tile (CT-1) | 45 | SF | 11 | 495
173 |  | Base
174 |  | Resilient Material (RM1) | 446 | LF | 7 | 3122
175 |  | Satin Base (ST-1) | 118 | LF | 6 | 708
176 |  | Paint
177 |  | Ceramic Tile (CT-3) | 266 | SF | 16 | 4256
178 |  | Wall Paint (PT1, PT2) | 5940 | SF | 2 | 11880
179 |  | Wall Paint (PT3) | 210 | SF | 2 | 420
180 |  | Ceiling
181 |  | Suspended Ceiling Ceiling | 1764 | SF | 12 | 21168
182 |  | Gypsum Board Ceiling | 202 | SF | 2 | 404
183 |  | 1" EIFS Soffit Over Fiberglass Gypsum Board | 621 | SF | 5 | 3105
184 |  | 5/8" Gypsum Board Soffit | 186 | SF | 2 | 372
185 |  | Exterior
186 |  | EiFS Finish | 2759 | SF | 5 | 13795
187 |  | Cul Tured Stone Veneer | 293 | SF | 12 | 3516
188 |  | Brick Veneer | 489 | SF | 14 | 6846
189 |  | Metal Coping | 51 | SF | 8 | 408
190 |  | Specialties
191 |  | Upper Cabinet | 32 | LF | 135 | 4320
192 |  | Lower Cabinet | 38 | LF | 155 | 5890
193 |  | Shred IT Box | 1 | EA | 60 | 60
194 |  | Hospitality Station | 1 | EA | 1800 | 1800
195 |  | ATM Unit | 1 | EA | 1600 | 1600
196 |  | Night Depository | 1 | EA | 150 | 150
197 |  | Stainless Steel Countertop | 30 | SF | 65 | 1950
198 |  | Plastic Lam. Countertop | 40 | SF | 45 | 1800
199 |  | Plumbing Fixture
200 |  | 18"x36" Framed Mirror | 2 | EA | 250 | 500
201 |  | Soap Dispenser | 2 | EA | 110 | 220
202 |  | 36" Grab Bar | 2 | EA | 100 | 200
203 |  | 42" Grab Bar | 2 | EA | 110 | 220
204 |  | 18" Grab Bar Double Roll Toilet Paper Dispenser | 2 | EA | 600 | 1200
205 |  | Napkin Disposal | 2 | EA | 150 | 300
206 |  | Paper Towel Dispenser | 2 | EA | 16 | 32
207 |  | Robe Hook Centered On Door 48" | 2 | EA | 60 | 120
208 |  | Automatic Paper Towel Dispenser | 1 | EA | 130 | 130
209 |  | Equipment
210 |  | Refrigerator | 1 | EA | 16 | 16
211 |  | Plumbing
212 |  | 3/4" Hot Water | 36 | LF | 16 | 576
213 |  | 4" Vent Pipe | 11 | LF | 24 | 264
214 |  | 2" Sanitary Pipe | 32 | LF | 23 | 736
215 |  | 4" Sanitary Pipe | 55 | LF | 30 | 1650
216 |  | 1 1/2" Cold Water | 93 | LF | 21 | 1953
217 |  | 3/4" Cold Water | 97 | LF | 17 | 1649
218 |  | 1/2" Cold Water | 59 | LF | 15 | 885
219 |  | 1 1/2 Vent Pipe | 51 | LF | 17 | 867
220 |  | 2 Vent Pipe Pipe | 9 | LF | 19 | 171
221 |  | 3" Sanitary Pipe | 10 | LF | 28 | 280
222 |  | 3" Storm Drain Leader | 85 | LF | 26 | 2210
223 |  | 2" Storm Drain Leader | 61 | LF | 24 | 1464
224 |  | Drain Leader Nozzle | 4 | LF | 22 | 88
225 |  | 4" Storm Drain Pipe | 46 | LF | 29 | 1334
226 |  | 4" Storm Drain Leader | 35 | LF | 27 | 945
227 |  | Ball Valve | 8 | EA | 200 | 1600
228 |  | Wall Hydrant | 3 | EA | 300 | 900
229 |  | Floor Drain | 2 | EA | 150 | 300
230 |  | Water Closet | 2 | EA | 950 | 1900
231 |  | Service Sink | 1 | EA | 800 | 800
232 |  | Water Heater | 1 | EA | 1500 | 1500
233 |  | Lavatory | 2 | EA | 850 | 1700
234 |  | Floor Cleanout | 1 | EA | 150 | 150
235 |  | Electric Water Cooler | 1 | EA | 1800 | 1800
236 |  | Supply Box | 2 | EA | 240 | 480
237 |  | Ground Cleanout | 1 | EA | 150 | 150
238 |  | Sink | 1 | EA | 800 | 800
239 |  | Gas Meter | 1 | EA | 300 | 300
240 |  | Janitor Sink | 1 | EA | 650 | 650
241 |  | Electrical Wall Heater | 1 | EA | 700 | 700
242 |  | Water Hammer Arrester | 3 | EA | 300 | 900
243
244 |  | Mechanical
245 |  | Thermostat | 3 | EA | 200 | 600
246 |  | 10 Dia Duct | 76.44 | LF | 18 | 1375.92
247 |  | 6" Dia Flexible Duct | 47.36 | LF | 14 | 663.04
248 |  | 8" Dia Duct | 11.01 | LF | 16 | 176.16
249 |  | 10" Dia Flexible Pipe | 54.65 | LF | 21 | 1147.65
250 |  | 18"x12" Duct | 16.01 | LF | 22 | 352.22
251 |  | 10"x12" Duct | 19.44 | LF | 24 | 466.56
252 |  | 8"x12" Duct | 37.85 | LF | 20 | 757
253 |  | 14"x12" Duct | 3.93 | LF | 25 | 98.25
254 |  | 16"x12" Duct | 7.18 | LF | 28 | 201.04
255 |  | 12"x10" Duct | 4.72 | LF | 27 | 127.44
256 |  | 25"x14" Duct | 4.15 | LF | 34 | 141.1
257 |  | 36"x12" Duct | 5.02 | LF | 36 | 180.72
258 |  | 25"x14" Duct | 7.19 | LF | 32 | 230.08
259 |  | 14"x12" Return Air Opening | 12 | EA | 300 | 3600
260 |  | Supply Diffuser 245 CFM | 1 | EA | 250 | 250
261 |  | Supply Diffuser 250 CFM | 2 | EA | 250 | 500
262 |  | Supply Diffuser 300 CFM | 1 | EA | 300 | 300
263 |  | Supply Diffuser 180 CFM | 2 | EA | 200 | 400
264 |  | Supply Diffuser 40 CFM | 3 | EA | 150 | 450
265 |  | Supply Diffuser 110 CFM | 1 | EA | 200 | 200
266 |  | Supply Diffuser 30 CFM | 1 | EA | 150 | 150
267 |  | Supply Diffuser 70 CFM | 1 | EA | 150 | 150
268 |  | Supply Diffuser 230 CFM | 1 | EA | 250 | 250
269 |  | Supply Diffuser 150 CFM | 1 | EA | 200 | 200
270 |  | Supply Diffuser 220 CFM | 2 | EA | 250 | 500
271 |  | Supply Diffuser 225 CFM | 6 | EA | 250 | 1500
272 |  | Supply Diffuser 200 CFM | 1 | EA | 250 | 250
273 |  | Supply Diffuser 245 CFM | 2 | EA | 300 | 600
274 |  | Return Diffuser | 15 | EA | 250 | 3750
275 |  | Exhaust Fan | 5 | EA | 400 | 2000
276 |  | 15.KW Electric Ceiling Heater | 1 | EA | 900 | 900
277 |  | 14"x10" Return Air | 2 | EA | 350 | 700
278 |  | 10"x10" Exhaust Duct | 1 | EA | 400 | 400
279 |  | Duct Static Pressure Sensor | 1 | EA | 300 | 300
280 |  | Duct Mounted Smoke Detector | 3 | EA | 250 | 750
281 |  | 20"x18" Supply Duct | 1 | EA | 250 | 250
282 |  | 6"x6" Supply Diffuser | 1 | EA | 250 | 250
283 |  | 1 1/4" Gas Pipe | 98 | LF | 25 | 2450
284 |  | 3/4" Condense Pipe | 12 | LF | 22 | 264
285 |  | Roof Drain | 2 | EA | 350 | 700
286 |  | Overflow Drain | 2 | EA | 350 | 700
287 |  | EF-1 Model Number : G -97 -VG CFM 150 RPM : 1250 Sones : 5.7 | 3 | EA | 350 | 1050
288 |  | EF-2 Model Number : G -95 -VG CFM 200 RPM : 1232 Sones : 6.2 | 2 | EA | 400 | 800
289 |  | Rooftop Unit RTU-1 Nominal Ton 3 CFM : 960 Load AMPS: 15.3 | 1 | EA | 1800 | 1800
290 |  | Rooftop Unit RTU-2 Nominal Ton 6 CFM : 2775 Load AMPS: 32.5 | 1 | EA | 2200 | 2200
291 |  | Rooftop Unit RTU-3 Nominal Ton 3 CFM : 960 Load AMPS: 17.9 | 1 | EA | 1800 | 1800
292 |  | Transfer Fan | 1 | EA | 600 | 600
293 |  | Water Heater | 1 | EA | 1300 | 1300
294 |  | Electrical
295 |  | 120 V Ceiling Recessed W/ LED Incl W/ 750 Lumens -Emergency | 2 | EA | 270 | 540
296 |  | 120 V Ceiling Recessed W/ LED Incl W/ 1500 Lumens | 3 | EA | 250 | 750
297 |  | 120 V Ceiling Recessed W/ LED Incl W/ 1500 Lumens Emergency | 3 | EA | 270 | 810
298 |  | 120 Wall Recessed W/ Furn. W/ Fixt. | 3 | EA | 240 | 720
299 |  | 120 Under Cabinet LED -Incl W/ 740 Lumens | 3 | EA | 230 | 690
300 |  | 208 V Pole Mounted W/ LED Incl W/ 12575 Lumens | 1 | EA | 255 | 255
301 |  | 208 V Pole Mounted W/ LED Incl W/ 23545 Lumens EM | 1 | EA | 275 | 275
302 |  | 120 Wall Sconce LED Incl -W/ 2181 Lumens | 1 | EA | 240 | 240
303 |  | 120 Wall Sconce LED Incl -W/ 3796 Lumens EM | 1 | EA | 260 | 260
304 |  | 120 Stanchion Slip Fitter LED Included 7715 Lumens | 1 | EA | 250 | 250
305 |  | Wall Mounted Pendant Mounted LED Included 3172 Lumens | 2 | EA | 240 | 480
306 |  | Wall Mounted Pendant Mounted LED Included 3172 Lumens EM | 1 | EA | 270 | 270
307 |  | 120 V Ceiling or Wall Mounted LED Furn W/ Fixt. | 4 | EA | 230 | 920
308 |  | 120 V Pendant 8 W LED 500 Lumen Sorra Retrofit | 2 | EA | 250 | 500
309 |  | 120 V Ceiling Semi Recessed LED - Incl W/ 705x 4 Lumens | 3 | EA | 270 | 810
310 |  | 120 V 18" Pendant LED -Incl W/ 8371 Lumens | 3 | EA | 280 | 840
311 |  | 120 V 18" Pendant LED -Incl W/ 8371 Lumens EM | 1 | EA | 300 | 300
312 |  | 120 Ceiling Recessed LED Incl- W/ 3367 Lumen | 16 | EA | 240 | 3840
313 |  | 120 Ceiling Recessed LED Incl- W/ 3367 Lumen EM | 12 | EA | 260 | 3120
314 |  | 120 Ceiling Recessed LED Incl W/ Fixt. 1500 Lumen | 2 | EA | 240 | 480
315 |  | 120 Ceiling Recessed LED Incl W/ Fixt. 1500 Lumen EM | 6 | EA | 250 | 1500
316 |  | Grade Flood Light | 4 | EA | 280 | 1120
317 |  | Motion Sensor | 1 | EA | 250 | 250
318 |  | Occupancy DT Sensor | 2 | EA | 250 | 500
319 |  | Corner OCC Sensor | 1 | EA | 250 | 250
320 |  | Acuity Control / Sensor Switch | 18 | EA | 130 | 2340
321 |  | Low Voltage Ceiling Occupancy Sensor | 2 | EA | 250 | 500
322 |  | Relay/ Power Pack | 6 | EA | 130 | 780
323 |  | Interior Lighting Security Alarm Input Control | 1 | EA | 180 | 180
324 |  | Closure Scenario Relay | 2 | EA | 150 | 300
325 |  | Automatic Plug-Load Controlled Circuit To Relay | 5 | EA | 160 | 800
326 |  | Under Cabinet Lighting | 2 | EA | 240 | 480
327 |  | Relay Panel | 3 | EA | 300 | 900
328 |  | Power Plan
329 |  | Junction Box | 43 | EA | 180 | 7740
330 |  | Duplex Receptacle | 57 | EA | 220 | 12540
331 |  | Data/ Voip Outlet | 20 | EA | 170 | 3400
332 |  | Push Button | 4 | EA | 90 | 360
333 |  | Double Duplex Receptacle | 12 | EA | 240 | 2880
334 |  | Alarm Lamp | 4 | EA | 150 | 600
335 |  | Security Alarm Remote (Control Reader) | 11 | EA | 200 | 2200
336 |  | Security Alarm Door | 13 | EA | 150 | 1950
337 |  | Motion Detector | 7 | EA | 250 | 1750
338 |  | Depp Flush Junction Box | 16 | EA | 190 | 3040
339 |  | Video Camera | 18 | EA | 350 | 6300
340 |  | Infrared Motion Detector | 6 | EA | 250 | 1500
341 |  | Roof Hatch Door | 2 | EA | 450 | 900
342 |  | Automatic Teller Machine | 1 | EA | 400 | 400
343 |  | Video Camera In ATM Unit | 1 | EA | 350 | 350
344 |  | Single Device Switch | 1 | EA | 120 | 120
345 |  | Single Way Switch | 6 | EA | 120 | 720
346 |  | Disconnect Switch | 9 | EA | 170 | 1530
347 |  | Deep Outlet Box | 1 | EA | 190 | 190
348 |  | Double Push Button | 2 | EA | 130 | 260
349 |  | Data/ Voip Outlet | 20 | EA | 240 | 4800
350 |  | Photocell | 2 | EA | 320 | 640
Subtotal
|  | Insurance | 3%
|  | Overhead and Profit | 12%
Total Amount

## Sheet2 (hidden)
S.no | Description |  | L | B | D | Qty
1 | Side Walk
| Exa |  | 5931.04 |  | 0.92 | 5456.5568
| Conc |  | 5931.04 |  | 0.42 | 2491.0368
2 | 6" Concrete Curb
| Exa |  | 1094.23 | 0.58 | 1 | 1094.23
| Conc |  | 1094.23 | 0.58 | 1.5 | 1641.345
3 | New Full Depth Pavement |  | 54118.17
| Excavation |  | 54118.17 |  | 1 | 54118.17
| 12" Sub grade |  | 54118.17 |  | 1 | 54118.17
| 3"Asphaltic Base course |  | 54118.17 |  | 0.25 | 13529.5425
| 2" Asphaltic Binder Course |  | 54118.17 |  | 0.17 | 9200.0889
| 2" Asphaltic top Course |  | 54118.17 |  | 0.17 | 9200.0889
| Tack Coat |  | 54118.17
3 | Pavement -Overlay |  | 24478
| 12" Sub grade |  | 24478 |  | 1 | 24478
| 3"Asphaltic Base course |  | 24478 |  | 0.25 | 6119.5
| 2" Asphaltic Binder Course |  | 24478 |  | 0.17 | 4161.26
| 2" Asphaltic top Course |  | 24478 |  | 0.17 | 4161.26
| Tack Coat |  | 24478
1 | Side Walk
| Exa |  | 7821 |  | 0.92 | 7195.32 | 3.14
| Conc |  | 7821 |  | 0.42 | 3284.82
2 | Bollards | 62
| Concrete - | 62 | 2 | 2 | 1 | 248
|  | 62 | 1.76 | 2.5 |  | 272.8